## Lifestyle
No | Name | Full name | Sequence | Formula | M [g/mol] | Motif | Terminus | Organism | Lifestyle | Temperature [st. C] | pH | Comments
1 | PPT_1 | ORT49035.1_103_123 | VDLRDAKGVQVGDGNVQINRF | C98H163N33O31 | 2300.2 | BASS3 | C | Frankia sp. KB5 | symbiont roslin | ok. 25 |  | Gatunek jest symbiontem roślin (https://microbewiki.kenyon.edu/index.php/Frankia), a ten dokładnie szczep (https://www.jgenomics.com/v05p0064.htm) został wyizolowany z bulw rzewni skrzypolistnej (https://en.wikipedia.org/wiki/Casuarina_equisetifo) w Australii. Strzelam, że lubi temperatury ok. 25 st. C
2 | PPT_4 | SesB_349_385 | SFNNLGSGDQFNTPGGTQNINKGGNEVSGGNFYGSVQF | C168H246N50O59 | 3910.8 | sigma | C | Nectria haematococca / Fusarium solani | saprofit patogen roslin | 26-30 | 6.5 | sesB, https://pubmed.ncbi.nlm.nih.gov/15312233/, https://en.wikipedia.org/wiki/Fusarium_solani
3 | PPT_5 | AEB69175.1 5 29 | KSRFDQRGQKVIGQQINVAGDATLP | C117H197N39O36 | 2726.8 | BASS | N | Methanothrix soehngenii GP6 (Methanosaeta concilii) | metanogen obligatoryjny zjadacz octanow | 35-40 | 7.4-7.8 | https://horizon.documentation.ird.fr/exl-doc/pleins_textes/pleins_textes_5/b_fdi_31-32/34552.pdf
4 | PPT_6 | RDW70414_382_421 | GAPANNTSNSIQHNNSGSGHQNSGSGQQNIGTNTGSGQQ | C146H232N58O63 | 3808.6 | - | m | Coleophoma crateriformis | patogen roslin | ok. 25 |  | https://wiki.pestinfo.org/wiki/Coleophoma_(genus), szczep wyizolowany z liści, w Japonii (https://www.ncbi.nlm.nih.gov/biosample/SAMN07177961), temperaturę zgaduję
5 | PPT_7 | Q8DQ16_STRR6_68_102 | VDALINTGSAGAVAEGIAVGDVVIADKLAYHDVDV | C151H246N40O51 | 3435.8 | - | m | Streptococcus pneumoniae R6 | patogen pluc | ok. 37 |  | https://pubmed.ncbi.nlm.nih.gov/11544234/, temperaturę zgaduję
6 | PPT_8 | ORT49016.1_1_21 | VNAPDARGLQVGTGNTQINNF | C92H149N31O31 | 2184.1 | BASS3 | N | Frankia sp. KB5 | symbiont roslin | ok. 25 |  | Gatunek jest symbiontem roślin (https://microbewiki.kenyon.edu/index.php/Frankia), a ten dokładnie szczep (https://www.jgenomics.com/v05p0064.htm) został wyizolowany z bulw rzewni skrzypolistnej (https://en.wikipedia.org/wiki/Casuarina_equisetifo) w Australii. Strzelam, że lubi temperatury ok. 25 st. C
7 | PPT_8_Met |  | MNAPDARGLQVGTGNTQINNF | C92H149N31O31S | 2217.4 | BASS3 | N | Frankia sp. KB5 | symbiont roslin | ok. 25 |  | Gatunek jest symbiontem roślin (https://microbewiki.kenyon.edu/index.php/Frankia), a ten dokładnie szczep (https://www.jgenomics.com/v05p0064.htm) został wyizolowany z bulw rzewni skrzypolistnej (https://en.wikipedia.org/wiki/Casuarina_equisetifo) w Australii. Strzelam, że lubi temperatury ok. 25 st. C
8 | PPT_9 | AEB69174.1_150_174 | RTAFDQRGQTVHGSQTNIAGNVNRP | C112H183N43O37 | 2722.4 | BASS | C | Methanothrix soehngenii GP6 (Methanosaeta concilii) | metanogen obligatoryjny zjadacz octanow | 35-40 | 7.4-7.8 | https://horizon.documentation.ird.fr/exl-doc/pleins_textes/pleins_textes_5/b_fdi_31-32/34552.pdf
9 | PPT_10 | Het-eN_Nterminus | SYNSSGPGNQYDAHGGTQNINQGGSQVTGGIFNGHVYF | C169H242N52O58 | 3927.8 | sigma | N | Nectria haematococca / Fusarium solani | saprofit patogen roslin | 26-30 | 6.5 | https://journals.plos.org/plosone/article?id=10.1371/journal.pone.0034854
10 | PPT_11 | APA16012 327 359 | SRDEGASFSGHFSTNGGKQFIGGNFNSGGGVTF | C144H208N44O48 | 3321.5 | sigma2 | C | Sclerotinia sclerotiorum 1980 UF-70 | patogen roslin | 15-21 |  | https://en.wikipedia.org/wiki/Sclerotinia_sclerotiorum; lubi wilgoć (ibidem)
11 | PPT_12 | APA16011_194_226 | SKRQRINRQGNFTNADGSQFIASNLNSGGGSIN | C144H235N53O50 | 3506.8 | sigma2 | m | Sclerotinia sclerotiorum 1980 UF-70 | patogen roslin | 15-21 |  | https://en.wikipedia.org/wiki/Sclerotinia_sclerotiorum; lubi wilgoć (ibidem)
12 | PPT_13 | SesA_159_196 | TFTNIGNGNQYNATDGPQNINQGGNQVTGGTFPGTVNF | C167H249N51O59 | 3912.8 | sigma | N | Nectria haematococca / Fusarium solani | saprofit patogen roslin | 26-30 | 6.5 | sesA, https://pubmed.ncbi.nlm.nih.gov/15312233/, https://en.wikipedia.org/wiki/Fusarium_solani
13 | PPT_14 | CAB66307.1_117_139 | LRARASGSARIYQAGRDQHITER | C108H183N43O33 | 2611.9 | BASS1 | C | Streptomyces coelicolor A3(2) | saprofit glebowy | ok. 25 |  | free-living terrestrial non-pathogenic aerobic heterotroph (https://www.ncbi.nlm.nih.gov/biosample/SAMEA1705940, https://www.nature.com/articles/417141a), temperaturę zgaduję
14 | PPT_15 | ARF62511.1_110_132 | QRATASGSARVYQAGRDQHITER | C104H173N41O35 | 2557.8 | BASS1 | C | Streptomyces violaceoruber | saprofit szlamu morskiego | 6-28 => ok. 15-20 |  | seabed sludge from China (Shandong) (https://www.ncbi.nlm.nih.gov/biosample/SAMN06323808), temperatura Morza Żółtego (https://factslegend.org/30-yellow-sea-facts-need-project/)
15 | PPT_16 | ARF62512.1_5_27 | TEGRAEDNGRVYQSQGDQHITEH | C106H164N38O41 | 2626.7 | BASS1 | N | Streptomyces violaceoruber | saprofit szlamu morskiego | 6-28 => ok. 15-20 |  | seabed sludge from China (Shandong) (https://www.ncbi.nlm.nih.gov/biosample/SAMN06323808), temperatura Morza Żółtego (https://factslegend.org/30-yellow-sea-facts-need-project/)
16 | PPT_17 | OAB01746.1_101_128 | GDGTVHNTISGGTQHGPVLQGRDFSGLS | C117H185N39O41 | 2794.0 | BASS2 | C | Streptomyces sp. FXJ1.172 | saprofit glebowy | 3-30 => ok. 20 | moderately acidophilic | lasalosid-producing strain from red soil (China, JiangXi), produkuje kwas lasalowy (https://www.ncbi.nlm.nih.gov/biosample/SAMN04892703, https://chemistry-europe.onlinelibrary.wiley.com/doi/full/10.1002/ejoc.201600297)), temperatura dla JiangXi (https://en.wikipedia.org/wiki/Jiangxi)
17 | PPT_18 | OAB01747.1_12_39 | ADGRVNNTISGGFFFHAVIQGRDIAVQL | C134H209N41O38 | 3002.4 | BASS2 | N | Streptomyces sp. FXJ1.172 | saprofit glebowy | 3-30 => ok. 20 | moderately acidophilic | lasalosid-producing strain from red soil (China, JiangXi), produkuje kwas lasalowy (https://www.ncbi.nlm.nih.gov/biosample/SAMN04892703, https://chemistry-europe.onlinelibrary.wiley.com/doi/full/10.1002/ejoc.201600297)), temperatura dla JiangXi (https://en.wikipedia.org/wiki/Jiangxi)
18 | PPT_19 | AFY38362.1_128_152 | GGNVSQEAITDVKVGGNLKIGNVDQ | C105H179N33O38 | 2511.8 | BASS4 | C2 | Leptolyngbya sp. (Symphothece fragile) PCC 7376 | sinica | mesophilic |  | free-living aerobic meshopilic chemoheterotroph from Crystal Cave (limestone, Bermuda) (https://www.ncbi.nlm.nih.gov/biosample/SAMN02232033), coastal marine (https://peerj.com/preprints/2676.pdf)
19 | PPT_20 | AFY38363.1_6_31 | QKKIIQKAISDIVVHGNLTVGDITQ | C120H209N35O36 | 2718.1 | BASS4 | N | Leptolyngbya sp. (Symphothece fragile) PCC 7376 | sinica | mesophilic |  | free-living aerobic meshopilic chemoheterotroph from Crystal Cave (limestone, Bermuda) (https://www.ncbi.nlm.nih.gov/biosample/SAMN02232033), coastal marine (https://peerj.com/preprints/2676.pdf)
20 | PPT_21 | EQB50682.1_332_355 | VFHGKGIQHTGSGNFSVGNDLSIS | C107H165N33O34 | 2457.6 | nowy | C | Colletotrichum gloeosporioides Cg-14 / Glomerella_cingulata | patogen roslin | 20-30 | 5.8-6.5 | http://fungi.ensembl.org/Colletotrichum_gloeosporioides_cg_14_gca_000446055/Info/Index, decayed Avocado fruit from Israel (https://www.ncbi.nlm.nih.gov/biosample/SAMN02981466)
21 | PPT_22 | EQB50683.1_9_31 | FHGHGIALSGAGNITVGGDFIIG | C100H153N29O28 | 2209.5 | nowy | N | Colletotrichum gloeosporioides Cg-14 / Glomerella_cingulata | patogen roslin | 20-30 | 5.8-6.5 | http://fungi.ensembl.org/Colletotrichum_gloeosporioides_cg_14_gca_000446055/Info/Index, decayed Avocado fruit from Israel (https://www.ncbi.nlm.nih.gov/biosample/SAMN02981466)
22 | PPT_23 | ORT49016.1_1_21 | MNAPDARGLQVGTGNTQINNF | C92H149N31O31S | 2217.4 | BASS3 | N | Frankia sp. KB5 | symbiont roslin | ok. 25
23 | PPT_24 | CAB66306.1_7_29 | MEGRASGSARIYQAGGDQYIEEH |  | 228460 | BASS1 | N | Streptomyces coelicolor A3(2) | saprofit glebowy | ok. 25 |  | free-living terrestrial non-pathogenic aerobic heterotroph (https://www.ncbi.nlm.nih.gov/biosample/SAMEA1705940, https://www.nature.com/articles/417141a), temperaturę zgaduję
24 | PPT_25 | AFY38362.1_100_124 | DAQVKQVLLKNIDVAGDAEIGDMSQ |  | 2658.0 | BASS4 | C1 | Leptolyngbya sp. (Symphothece fragile) PCC 7376 | sinica | mesophilic |  | free-living aerobic meshopilic chemoheterotroph from Crystal Cave (limestone, Bermuda) (https://www.ncbi.nlm.nih.gov/biosample/SAMN02232033), coastal marine (https://peerj.com/preprints/2676.pdf)

## ATR_FTIR
No | Name | date↓ | medium /powder | concentration [mg/ml] | age (after dissolving/ day of/ 7 days/ 30 days) | temperature [°C] | parameters (scans, resolution, bkg, range) | Amide I maximum [cm-1] | assigned structure | comments
1 | PPT_1 | 2024-02-20 | powder |  |  | 24 | 512 sk, 4 cm, air | 1625
1 | PPT_1 | 2024-02-20 | 0,1M NaOH | 10 | after dissolving | 24 | 512 sk, 4 cm, air | 1624 | aggregated
1 | PPT_1 | 2024-02-20 | +PBS 6.8 | 2.5 | after dissolving | 24 | 512 sk, 4 cm, air | 1624 | aggregated
1 | PPT_1 | 2025-02-20 | +PBS 6.8 | 2.5 | 24h | 24 | 512 sk, 4 cm, air | 1624 | aggregated | incubated at 37°C
1 | PPT_1 | 2027-02-20 | powder |  |  | 24 | 512 sk, 4 cm, air | 1625 |  | stored at fridge
1 | PPT_1 | 2027-02-20 | powder |  |  | 37 | 512 sk, 4 cm, air | 1625 |  | stored at fridge
1 | PPT_1 | 2027-02-20 | D2O | 2 | after dissolving | 20 | 512 sk, 4 cm, air | 1654 | extended
1 | PPT_1 | 2027-02-20 | D2O | 2 | after dissolving | 37 | 512 sk, 4 cm, air | 1635/1624 | aggregated
1 | PPT_1 | 2028-02-20 | D2O | 2 | 24h | 20 | 512 sk, 4 cm, air | 1632/1622 sh |  | incubated at 37°C
1 | PPT_1 | 2028-02-20 | D2O | 2 | 24h | 25 | 512 sk, 4 cm, air | 1632/1621 sh |  | incubated at 37°C
1 | PPT_1 | 2028-02-20 | D2O | 2 | 24h | 30 | 512 sk, 4 cm, air | 1632/1621 sh |  | incubated at 37°C
1 | PPT_1 | 2028-02-20 | D2O | 2 | 24h | 35 | 512 sk, 4 cm, air | 1632/1621 sh |  | incubated at 37°C
1 | PPT_1 | 2028-02-20 | D2O | 2 | 24h | 40 | 512 sk, 4 cm, air | 1632/1621 sh |  | incubated at 37°C
1 | PPT_1 | 2028-02-20 | D2O | 2 | 24h | 45 | 512 sk, 4 cm, air | 1632/1621 sh |  | incubated at 37°C
1 | PPT_1 | 2028-02-20 | D2O | 2 | 24h | 50 | 512 sk, 4 cm, air | 1632/1621 sh |  | incubated at 37°C
1 | PPT_1 | 2028-02-20 | 0,1M NaOH | 2.5 | after dissolving | 20 | 512 sk, 4 cm, air | 1624 | aggregated
1 | PPT_1 | 2028-02-20 | +PBS 6.8 | 1 | after dissolving | 20 | 512 sk, 4 cm, air | 1625 | aggregated
1 | PPT_1 | 2003-02-20 | 0,2M HCl | 2.5 | after dissolving | 37 | 512 sk, 4 cm, air | 1648/1626
1 | PPT_1 | 2003-02-20 | +PBS 6.8 | 1 | 5d | 37 | 512 sk, 4 cm, air | 1625 | aggregated | incubated at 37°C
1 | PPT_1 | 2003-02-20 | D2O | 2 | 6d | 37 | 512 sk, 4 cm, air | 1633/1620 sh |  | incubated at 37°C
1 | PPT_1 | 2004-02-20 | 0,2M HCl | 2.5 | 24h | 37 | 512 sk, 4 cm, air | 1652 | extended | incubated at 37°C
1 | PPT_1 | 2001-06-20 | D2O | 2 | 3-4mc | 37 | 512 sk, 4 cm, air | 1622 | aggregated | incubated at 37°C
1 | PPT_1 | 2005-06-20 | 0,2M HCl | 2.5 | 3-4mc | 37 | 128 sk, 4 cm, air | 1650/1625 |  | incubated at 37°C, deaminated
1 | PPT_1 | 2005-06-20 | HCl/PBS | 1 | after dissolving | 37 | 128 sk, 4 cm, air | 1648/1626
1 | PPT_1 | 2009-06-20 | HCl/PBS | 1 | 4d | 37 | 128 sk, 4 cm, air | 1648/1626 |  | incubated at 37°C
1 | PPT_1 | 2005-11-20 | 0,01M NaOH/PBS | (1) | after dissolving | 25 | 512 sk, 4 cm, air |  |  | filtrated
1 | PPT_1 | 2006-11-20 | 0,1M NaOH/PBS | (1) | 1d | 25 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
1 | PPT_1 | 2006-11-20 | 0,3M NaOH/PBS | (1) | 1d | 25 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
1 | PPT_1 | 2009-11-20 | HFIP/PBS | (1) | (4d) | 25 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
1 | PPT_1 | 2009-11-20 | HFIP/NaOH/PBS | (1) | (4d) | 25 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
1 | PPT_1 | 2012-11-20 | 0,01M NaOH/PBS | (1) | 7d | 25 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
1 | PPT_1 | 2012-11-20 | 0,1M NaOH/PBS | (1) | 7d | 25 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
1 | PPT_1 | 2012-11-20 | 0,3M NaOH/PBS | (1) | 7d | 25 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
1 | PPT_1 | 2016-11-20 | HFIP/PBS | (1) | 11d | 25 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
1 | PPT_1 | 2016-11-20 | HFIP/NaOH/PBS | (1) | 11d | 25 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
1 | PPT_1 | 2027-11-20 | 0,01M NaOH/PBS | (1) | 1ms | 25-60, every 5 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
1 | PPT_1 | 2027-11-20 | 0,1M NaOH/PBS | (1) | 1ms | 25-60, every 5 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
1 | PPT_1 | 2027-11-20 | 0,3M NaOH/PBS | (1) | 1ms | 25-60, every 5 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
1 | PPT_1 | 2011-12-20 | HFIP/PBS | (1) | (1ms) | 25 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
1 | PPT_1 | 2011-12-20 | HFIP/NaOH/PBS | (1) | (1ms) | 25 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
2 | PPT_4 | 2028-05-20 | powder |  |  | 37 | 128 sk, 4 cm, air | 1629
2 | PPT_4 | 2028-05-20 | D2O | 2 | after dissolving | 37 | 128 sk, 4 cm, air | 1630
2 | PPT_4 | 2001-06-20 | D2O | 2 | 3d | 37 | 128 sk, 4 cm, air | 1630 | aggregated | incubated at 37°C
2 | PPT_4 | 2005-06-20 | HCl/PBS | 1 | after dissolving | 37 | 128 sk, 4 cm, air | 1639 br
2 | PPT_4 | 2009-06-20 | HCl/PBS | 1 | 4d | 37 | 128 sk, 4 cm, air | 1652 br |  | incubated at 37°C
3 | PPT_5 | 2028-05-20 | powder |  |  | 37 | 128 sk, 4 cm, air | 1630
3 | PPT_5 | 2028-05-20 | D2O | 2 | after dissolving | 37 | 128 sk, 4 cm, air | 1625 | aggregated
3 | PPT_5 | 2001-06-20 | D2O | 2 | 3d | 37 | 128 sk, 4 cm, air | 1625 | aggregated | incubated at 37°C
3 | PPT_5 | 2005-06-20 | HCl/PBS | 1 | after dissolving | 37 | 128 sk, 4 cm, air | 1633
3 | PPT_5 | 2009-06-20 | HCl/PBS | 1 | 4d | 37 | 128 sk, 4 cm, air | 1629 | aggregated | incubated at 37°C
3 | PPT_5 | 2005-11-20 | 0,01M NaOH/PBS | (1) | after dissolving | 25 | 512 sk, 4 cm, air |  |  | filtrated
3 | PPT_5 | 2005-11-20 | 0,1M NaOH/PBS | (1) | after dissolving | 25 | 512 sk, 4 cm, air |  |  | filtrated
3 | PPT_5 | 2006-11-20 | 0,3M NaOH/PBS | (1) | 1d | 25 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
3 | PPT_5 | 2010-11-20 | HFIP/PBS | (1) | (4d) | 25 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
3 | PPT_5 | 2010-11-20 | HFIP/NaOH/PBS | (1) | (4d) | 25 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
3 | PPT_5 | 2012-11-20 | 0,01M NaOH/PBS | (1) | 7d | 25 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
3 | PPT_5 | 2012-11-20 | 0,1M NaOH/PBS | (1) | 7d | 25 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
3 | PPT_5 | 2012-11-20 | 0,3M NaOH/PBS | (1) | 7d | 25 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
3 | PPT_5 | 2016-11-20 | HFIP/PBS | (1) | 11d | 25 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
3 | PPT_5 | 2016-11-20 | HFIP/NaOH/PBS | (1) | 11d | 25 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
3 | PPT_5 | 2027-11-20 | 0,01M NaOH/PBS | (1) | 1ms | 25-60, every 5 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
3 | PPT_5 | 2027-11-20 | 0,1M NaOH/PBS | (1) | 1ms | 25-60, every 5 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
3 | PPT_5 | 2027-11-20 | 0,3M NaOH/PBS | (1) | 1ms | 25-60, every 5 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
3 | PPT_5 | 2011-12-20 | HFIP/PBS | (1) | (1ms) | 25 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
3 | PPT_5 | 2011-12-20 | HFIP/NaOH/PBS | (1) | (1ms) | 25 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
3 | PPT_5 | 1930-04-21 | 0,01M NaOH/PBS | 2 |  | 25 | 512 sk, 4 cm, air | 1629 | aggregated | stored in fridge at 4°C
3 | PPT_5+9 | 1930-04-21 | 0,01M NaOH/PBS | (1) |  | 25 | 512 sk, 4 cm, air | 1631 | aggregated | stored in fridge at 4°C
3 | PPT_5 | 2013-05-21 | powder |  |  | 24 | 512 sk, 4 cm, air | 1628 | aggregated | stored in fridge at -22°C
4 | PPT_6 | 2028-05-20 | powder |  |  | 37 | 128 sk, 4 cm, air | 1650/1625
4 | PPT_6 | 2028-05-20 | D2O | 2 | after dissolving | 37 | 128 sk, 4 cm, air | 1651 br
4 | PPT_6 | 2001-06-20 | D2O | 2 | 3 d | 37 | 128 sk, 4 cm, air | 1652 br |  | incubated at 37°C
4 | PPT_6 | 2005-06-20 | HCl/PBS | 1 | after dissolving | 37 | 128 sk, 4 cm, air | 1656 br
4 | PPT_6 | 2009-06-20 | HCl/PBS | 1 | 4d | 37 | 128 sk, 4 cm, air | 1658 br |  | incubated at 37°C
4 | PPT_6 | 2009-06-20 | D2O | 2 | 10d | 37 | 128 sk, 4 cm, air | 1656 br |  | incubated at 37°C
4 | PPT_6 | 2005-11-20 | 0,01M NaOH/PBS | (1) | after dissolving | 25 | 512 sk, 4 cm, air |  |  | filtrated
4 | PPT_6 | 2006-11-21 | 0,1M NaOH/PBS | (1) | 1d | 25 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
4 | PPT_6 | 2006-11-22 | 0,3M NaOH/PBS | (1) | 1d | 25 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
4 | PPT_6 | 2012-11-20 | 0,01M NaOH/PBS | (1) | 7d | 25 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
4 | PPT_6 | 2012-11-20 | 0,1M NaOH/PBS | (1) | 7d | 25 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
4 | PPT_6 | 2012-11-20 | 0,3M NaOH/PBS | (1) | 7d | 25 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
4 | PPT_6 | 2027-11-20 | 0,01M NaOH/PBS | (1) | 1ms | 25-60, every 5 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
4 | PPT_6 | 2027-11-20 | 0,1M NaOH/PBS | (1) | 1ms | 25-60, every 5 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
4 | PPT_6 | 2027-11-20 | 0,3M NaOH/PBS | (1) | 1ms | 25-60, every 5 | 512 sk, 4 cm, air |  |  | incubated at 37°C, filtrated
5 | PPT_7 | 2014-06-21 | powder |  |  | 37 | 512 sk, 4cm, air | 1628 | aggregated
5 | PPT_7 | 2014-06-21 | D2O | 2 | after dissolving | 37 | 512 sk, 4cm, air | 1627 | aggregated
5 | PPT_7 | 2014-06-21 | 0,2M NH3 | 2 | after dissolving | 37 | 512 sk, 4cm, air | 1638
5 | PPT_7 | 2014-06-21 | 0,2M NH4Cl | 1 | after dissolving | 37 | 512 sk, 4cm, air | 1630 | aggregated | filtrated
5 | PPT_7 | 2015-06-21 | 0,2M NH3* | 2 | 1d | 37 | 512 sk, 4cm, air | 1635 |  | stored in fridge at 4°C
5 | PPT_7 | 2015-06-21 | 0,2M NH4Cl* | 1 | 1d | 37 | 512 sk, 4cm, air | 1629 | aggregated | incubated at 37°C**
5 | PPT_7 | 2015-06-21 | D2O | 2 | 1d | 37 | 512 sk, 4cm, air | 1624 | aggregated | incubated at 37°C**
5 | PPT_7 | 2017-06-21 | 0,2M NH4Cl* | 1 | 3d | 37 | 512 sk, 4cm, air | 1629 | aggregated | incubated at 37°C
5 | PPT_7 | 2017-06-21 | D2O | 2 | 3d | 37 | 512 sk, 4cm, air | 1624 | aggregated | incubated at 37°C
5 | PPT_7 | 2017-06-21 | 0,2M NH4Cl* | 2 | after dissolving | 37 | 512 sk, 4cm, air | 1630 | aggregated | without filtration, directy into NH4Cl
5 | PPT_7 | 2017-06-21 | 0,2M NH4Cl* | 1 | after dissolving | 37 | 512 sk, 4cm, air | 1643 |  | without filtration, step by step
5 | PPT_7 | 2023-06-21 | 0,2M NH4Cl* | 1 | 9d | 37 | 512 sk, 4cm, air | 1629 | aggregated | incubated at 37°C
5 | PPT_7 | 2023-06-21 | D2O | 2 | 9d | 37 | 512 sk, 4cm, air | 1625 | aggregated | incubated at 37°C
5 | PPT_7 | 2023-06-21 | 0,2M NH4Cl* | 1 | 6d | 37 | 512 sk, 4cm, air | 1630 | aggregated | incubated at 37°C (without filtration, step by step)
5 | PPT_7 | 2024-06-21 | 0,2M NH4Cl* | 1 | 7d | 37 | 512 sk, 4cm, air | 1627 | aggregated | without filtration, directy into NH4Cl
5 | PPT_7 | 1930-06-21 | 0,1M NaOH | 2 | 4-5h | 25 | 512 sk, 4cm, air | 1675/1631 | aggregated | without fitration, low signal
5 | PPT_7 | 1930-06-21 | 0,1M NaOH | (2) | 4-5h | 25 | 512 sk, 4cm, air | 1675/1631 | aggregated | filtrated, low signal
5 | PPT_7 | 1930-06-21 | 0,1M NaCl | (1) | 4-5h | 25 | 512 sk, 4cm, air | 1633 vbr |  | filtrated, low signal
5 | PPT_7 | 2005-07-21 | 0,1M NaCl | (1) | 5d | 37 | 512 sk, 4cm, air | 1629 | aggregated | filtrated
5 | PPT_7 | 2014-07-21 | 0,1M NaCl | (1) | 14d | 37 | 512 sk, 4cm, air | 1629 | aggregated | filtrated
5 | PPT_7 | 2014-07-21 | 0,1M NaCl | (1) | 40d | 37 | 512 sk, 4cm, air | 1629 | aggregated | filtrated
5 | PPT_7 | 2019-08-21 | 0,1M NaCl | (1) | 49d | 37 | 512 sk, 4cm, air | 1662/1629 | aggregated | filtrated, low signal
6 | PPT_8 | 2016-07-21 | powder |  |  | 25 | 512 sk, 4 cm, air | 1665/1626 | aggregated | stored in fridge at -22°C
7 | PPT_8_Met | 2016-07-21 | powder |  |  | 25 | 512 sk, 4 cm, air | 1624 | aggregated | stored in fridge at -22°C
8 | PPT_9 | 1930-04-21 | 0,01M NaOH/PBS | 2 |  | 25 | 512 sk, 4 cm, air | 1633 | aggregated | stored in fridge at 4°C
8 | PPT_9+5 | 1930-04-21 | 0,01M NaOH/PBS |  |  | 25 | 512 sk, 4 cm, air | 1632 | aggregated | stored in fridge at 4°C
8 | PPT_9 | 2013-05-21 | powder(old) |  |  | 24 | 512 sk, 4 cm, air | lack of amides | deamided | stored in fridge at -22°C
9 | PPT_10 | 2016-07-21 | powder |  |  | 25 | 512 sk, 4 cm, air | 1630 | aggregated | stored in fridge at -22°C
10 | PPT_11 | 2016-07-21 | powder |  |  | 25 | 512 sk, 4 cm, air | 1625 | aggregated | stored in fridge at -22°C
11 | PPT_12 | 2016-07-21 | powder |  |  | 25 | 512 sk, 4 cm, air | 1624 | aggregated | stored in fridge at -22°C
12 | PPT_13 | 2016-07-21 | powder |  |  | 25 | 512 sk, 4 cm, air | 1630 | aggregated | stored in fridge at -22°C
13 | PPT_14 | 2016-07-21 | powder |  |  | 25 | 512 sk, 4 cm, air | 1617 | aggregated | stored in fridge at -22°C
14 | PPT_15 | 2016-07-21 | powder |  |  | 25 | 512 sk, 4 cm, air | 1617 | aggregated | stored in fridge at -22°C
15 | PPT_16 | 2016-07-21 | powder |  |  | 25 | 512 sk, 4 cm, air | 1621 | aggregated | stored in fridge at -22°C
16 | PPT_17 | 2008-05-21 | 0,01M NaOH/PBS | 2 |  | 25 | 512 sk, 4 cm, air | 1660/1631 |  | stored in fridge at 4°C
16 | PPT_17+18 | 2008-05-21 | 0,01M NaOH/PBS |  |  | 25 | 512 sk, 4 cm, air | 1660/1630 |  | stored in fridge at 4°C
16 | PPT_17 | 2013-05-21 | powder |  |  | 24 | 512 sk, 4 cm, air | 1629 | aggregated | stored in fridge at -22°C
16 | PPT_17 | 2005-07-21 | 0,1M NaCl | (1) | 5d | 37 | 512 sk, 4cm, air | 1680 |  | incubated at 37°C, after fitration, low signal
16 | PPT_17 | 2006-07-21 | powder |  |  | 37 | 512 sk, 4 cm, air | 1659/1629 | aggregated | stored in fridge at -22°C
16 | PPT_17 | 2006-07-21 | 0,1M NaOH | 1 | after dissolving | 37 | 512 sk, 4 cm, air | 1660/1632 | aggregated | without filtration
16 | PPT_17 | 2006-07-21 | 0,1M NaCl | (1) | 60 min | 37 | 512 sk, 4 cm, air | 1676 |  | after fitration, low signal
16 | PPT_17 | 2006-07-21 | 0,1M NaCl | (1) | 90 min | 37 | 512 sk, 4 cm, air | 1676 |  | after fitration, low signal
16 | PPT_17 | 2006-07-21 | 0,1M NaCl | (1) | 120 min | 37 | 512 sk, 4 cm, air | 1675 |  | after fitration
16 | PPT_17 | 2007-07-21 | 0,1M NaCl | (1) | 60 min/1d | 37 | 512 sk, 4 cm, air | 1680 |  | incubated at 37°C, after fitration, low signal
16 | PPT_17 | 2007-07-21 | 0,1M NaCl | (1) | 90 min/1d | 37 | 512 sk, 4 cm, air | 1680 |  | incubated at 37°C, after fitration, low signal
16 | PPT_17 | 2007-07-21 | 0,1M NaCl | (1) | 120 min/1d | 37 | 512 sk, 4 cm, air | 1681 |  | incubated at 37°C, after fitration, low signal
16 | PPT_17 | 2007-07-21 | 0,1M NaOH | (2) | 1d | 37 | 512 sk, 4 cm, air | 1659/1631 | aggregated | stored in fridge at 4°C, without filtration
16 | PPT_17 | 2013-07-21 | 0,1M NaOH | 1 | 7d | 37 | 512 sk, 4 cm, air | 1659/1630 | aggregated | stored in fridge at 4°C, without filtration
16 | PPT_17 | 2013-07-21 | 0,1M NaCl | (1) | 60 min/7d | 37 | 512 sk, 4 cm, air | 1679 |  | incubated at 37°C, after fitration, low signal
16 | PPT_17 | 2013-07-21 | 0,1M NaCl | (1) | 90 min/7d | 37 | 512 sk, 4 cm, air | 1679 |  | incubated at 37°C, after fitration, low signal
16 | PPT_17 | 2013-07-21 | 0,1M NaCl | (1) | 120 min/7d | 37 | 512 sk, 4 cm, air | 1679 |  | incubated at 37°C, after fitration, low signal
16 | PPT_17 | 2014-07-21 | 0,1M NaCl | (1) | 14d | 37 | 512 sk, 4cm, air | 1679/1666/1656/1649 |  | incubated at 37°C, after fitration, low signal
16 | PPT_17+18 | 2014-07-21 | 0,1M NaCl | (1) | 14d | 37 | 512 sk, 4cm, air | 1670 |  | incubated at 37°C, after fitration, low signal
16 | PPT_17 | 1930-07-21 | 0,1M NaCl | (1) | 30d | 37 | 512 sk, 4cm, air | 1682/1656 |  | incubated at 37°C, after fitration, low signal
16 | PPT_17+18 | 1930-07-21 | 0,1M NaCl | (1) | 30d | 37 | 512 sk, 4cm, air | 1679 |  | incubated at 37°C, after fitration, low signal
16 | PPT_17 | 2018-08-21 | 0,1M NaCl | (1) | 48d | 37 | 512 sk, 4cm, air | 1673/1656 |  | incubated at 37°C, after fitration, low signal, high carbonyla
16 | PPT_17 | 2019-08-21 | 0,1M NaCl | (1) | 49d | 37 | 512 sk, 4cm, air | 1673/1656 |  | incubated at 37°C, after fitration, low signal, high carbonyls
16 | PPT_17+18 | 2019-08-21 | 0,1M NaCl | (1) | 49d | 37 | 512 sk, 4cm, air | 1679/1650 |  | incubated at 37°C, after fitration, low signal
17 | PPT_18 | 2007-05-21 | 0,01M NaOH/PBS | 2 |  | 25 | 512 sk, 4 cm, air | 1659/1629 |  | stored in fridge at 4°C
17 | PPT_18+17 | 2008-05-21 | 0,01M NaOH/PBS |  |  | 25 | 512 sk, 4 cm, air | 1660/1630 |  | stored in fridge at 4°C
17 | PPT_18 | 2013-05-21 | powder |  |  | 24 | 512 sk, 4 cm, air | 1621 | aggregated | stored in fridge at -22°C
17 | PPT_18 | 2014-07-21 | 0,1M NaCl | (1) | 14d | 37 | 512 sk, 4cm, air | 1681 |  | incubated at 37°C, after fitration, low signal
17 | PPT_18 | 1930-07-21 | 0,1M NaCl | (1) | 30d | 37 | 512 sk, 4cm, air | 1681 |  | incubated at 37°C, after fitration, low signal
17 | PPT_18 | 2019-08-21 | 0,1M NaCl | (1) | 49d | 37 | 512 sk, 4cm, air | 1681 |  | incubated at 37°C, after fitration, low signal, high carbonyls
18 | PPT_19 | 2016-07-21 | powder |  |  | 25 | 512 sk, 4 cm, air | 1626 | aggregated | stored in fridge at -22°C
19 | PPT_20 | 2017-06-21 | powder |  |  | 37 | 512 sk, 4 cm, air | 1624 | aggregated | stored in fridge at -22°C
19 | PPT_20 | 2017-06-21 | D2O | 2 | after dissolving | 37 | 512 sk, 4 cm, air | 1661/1627 | aggregated
19 | PPT_20 | 2018-06-21 | D2O | 2 | 1d | 37 | 512 sk, 4 cm, air | 1660/1627 | aggregated | incubated at 37°C
19 | PPT_20 | 2018-06-21 | D2O | 2 | 8d | 37 | 512 sk, 4 cm, air | 1660/1627 | aggregated | incubated at 37°C
19 | PPT_20 | 2020-07-21 | D2O | 2 | after dissolving | 18-40, every 2 | 512 sk, 4 cm, air | 1661/1626 | aggregated
19 | PPT_20 | 2028-07-21 | D2O | 2 | 40d | 37 | 512 sk, 4 cm, air | 1656/1625 | aggregated | incubated at 37°C
19 | PPT_20 | 2029-07-21 | D2O | 2 | 9d | 20 | 512 sk, 4 cm, air | 1660/1625 | aggregated | stored at 4°C
20 | PPT_21 | 2017-06-21 | powder |  |  | 37 | 512 sk, 4 cm, air | 1626 | aggregated | stored in fridge at -22°C
20 | PPT_21 | 2017-06-21 | D2O | 2 | after dissolving | 37 | 512 sk, 4 cm, air | 1624 | aggregated
20 | PPT_21 | 2018-06-21 | D2O | 2 | after dissolving | 20 | 512 sk, 4 cm, air | 1664/1624 | aggregated
20 | PPT_21 | 2018-06-21 | D2O | 2 | after dissolving | 22 | 128 sk, 4 cm, air | 1665/1624 | aggregated
20 | PPT_21 | 2018-06-21 | D2O | 2 | after dissolving | 24 | 128 sk, 4 cm, air | 1665/1625 | aggregated
20 | PPT_21 | 2018-06-21 | D2O | 2 | after dissolving | 26 | 128 sk, 4 cm, air | 1665/1625 | aggregated
20 | PPT_21 | 2018-06-21 | D2O | 2 | after dissolving | 28 | 128 sk, 4 cm, air | 1665/1625 | aggregated
20 | PPT_21 | 2018-06-21 | D2O | 2 | after dissolving | 30 | 128 sk, 4 cm, air | 1665/1625 | aggregated
20 | PPT_21 | 2018-06-21 | D2O | 2 | after dissolving | 32 | 128 sk, 4 cm, air | 1665/1625 | aggregated
20 | PPT_21 | 2018-06-21 | D2O | 2 | after dissolving | 34 | 128 sk, 4 cm, air | 1665/1625 | aggregated
20 | PPT_21 | 2018-06-21 | D2O | 2 | after dissolving | 36 | 128 sk, 4 cm, air | 1666/1625 | aggregated
20 | PPT_21 | 2018-06-21 | D2O | 2 | after dissolving | 38 | 128 sk, 4 cm, air | 1666/1626 | aggregated
20 | PPT_21 | 2018-06-21 | D2O | 2 | after dissolving | 40 | 128 sk, 4 cm, air | 1666/1626 | aggregated
20 | PPT_21 | 2018-06-21 | D2O | 2 | 1d | 37 | 512 sk, 4 cm, air | 1623 | aggregated | incubated at 37°C
20 | PPT_21 | 2025-06-21 | D2O | 2 | 8d | 37 | 512 sk, 4 cm, air | 1649/1623 | aggregated | incubated at 37°C
20 | PPT_21 | 2014-07-21 | 0,1M NaCl | (1) | 14d | 37 | 512 sk, 4cm, air | 1679 |  | incubated at 37°C, after fitration, low signal
20 | PPT_21+22 | 2014-07-21 | 0,1M NaCl | (1) | 14d | 37 | 512 sk, 4cm, air | 1653 |  | incubated at 37°C, after fitration, low signal
20 | PPT_21 | 2028-07-21 | D2O | 2 | 40d | 37 | 512 sk, 4 cm, air | 1623 | aggregated | incubated at 37°C
20 | PPT_21 | 2029-07-21 | D2O | 2 | 40d | 20 | 512 sk, 4 cm, air | 1655/1625 | aggregated | stored at 4°C
20 | PPT_21 | 1930-07-21 | 0,1M NaCl | (1) | 30d | 37 | 512 sk, 4cm, air | 1679 |  | incubated at 37°C, after fitration, low signal
20 | PPT_21+22 | 1930-07-21 | 0,1M NaCl | (1) | 30d | 37 | 512 sk, 4cm, air | 1674 |  | incubated at 37°C, after fitration, low signal
20 | PPT_21 | 2019-08-21 | 0,1M NaCl | (1) | 49d | 37 | 512 sk, 4cm, air | 1678 |  | incubated at 37°C, after fitration, low signal
20 | PPT_21+22 | 2019-08-21 | 0,1M NaCl | (1) | 49d | 37 | 512 sk, 4cm, air | 1671 |  | incubated at 37°C, after fitration, low signal
21 | PPT_22 | 2017-06-21 | powder |  |  | 37 | 512 sk, 4 cm, air | 1624 | aggregated
21 | PPT_22 | 2017-06-21 | D2O | 2 | after dissolving | 37 | 512 sk, 4 cm, air | 1626 | aggregated
21 | PPT_22 | 2018-06-21 | D2O | 2 | 1d | 37 | 512 sk, 4 cm, air | 1626 | aggregated | incubated at 37°C
21 | PPT_22 | 2024-06-21 | D2O | 2 | after dissolving | 20 | 512 sk, 4 cm, air | 1629 | aggregated
21 | PPT_22 | 2024-06-21 | D2O | 2 | after dissolving | 22 | 512 sk, 4 cm, air | 1629 | aggregated
21 | PPT_22 | 2024-06-21 | D2O | 2 | after dissolving | 24 | 512 sk, 4 cm, air | 1629 | aggregated
21 | PPT_22 | 2024-06-21 | D2O | 2 | after dissolving | 26 | 512 sk, 4 cm, air | 1629 | aggregated
21 | PPT_22 | 2024-06-21 | D2O | 2 | after dissolving | 28 | 512 sk, 4 cm, air | 1629 | aggregated
21 | PPT_22 | 2024-06-21 | D2O | 2 | after dissolving | 30 | 512 sk, 4 cm, air | 1629 | aggregated
21 | PPT_22 | 2024-06-21 | D2O | 2 | after dissolving | 32 | 512 sk, 4 cm, air | 1629 | aggregated
21 | PPT_22 | 2024-06-21 | D2O | 2 | after dissolving | 34 | 512 sk, 4 cm, air | 1629 | aggregated
21 | PPT_22 | 2024-06-21 | D2O | 2 | after dissolving | 36 | 512 sk, 4 cm, air | 1629 | aggregated
21 | PPT_22 | 2024-06-21 | D2O | 2 | after dissolving | 38 | 512 sk, 4 cm, air | 1629 | aggregated
21 | PPT_22 | 2024-06-21 | D2O | 2 | after dissolving | 40 | 512 sk, 4 cm, air | 1629 | aggregated
21 | PPT_22 | 2025-06-21 | D2O | 2 | 8d | 37 | 512 sk, 4 cm, air | 1656/1627 | aggregated | incubated at 37°C
21 | PPT_22 | 2002-07-21 | 0,1M NaCl | (1) | 2d | 37 | 512 sk, 4cm, air | 1680
21 | PPT_22 | 2005-07-21 | 0,1M NaCl | (1) | 5d | 37 | 512 sk, 4cm, air | 1680 |  | incubated at 37°C, after fitration, low signal
21 | PPT_22 | 2014-07-21 | 0,1M NaCl | (1) | 14d | 37 | 512 sk, 4cm, air | 1679 |  | incubated at 37°C, after fitration, low signal
21 | PPT_22 | 2028-07-21 | D2O | 2 | 40d | 37 | 512 sk, 4 cm, air | 1625 | aggregated | incubated at 37°C
21 | PPT_22 | 2029-07-21 | D2O | 2 | 40d | 20 | 512 sk, 4 cm, air | 1626 | aggregated | stored at 4°C
21 | PPT_22 | 1930-07-21 | 0,1M NaCl | (1) | 30d | 37 | 512 sk, 4cm, air | 1681 |  | incubated at 37°C, after fitration, low signal
21 | PPT_22 | 2019-08-21 | 0,1M NaCl | (1) | 49d | 37 | 512 sk, 4cm, air | 1681 |  | incubated at 37°C, after fitration, low signal
22 | PPT_23 | 2017-06-21 | powder |  |  | 37 | 512 sk, 4 cm, air | 1642/1624 | aggregated
22 | PPT_23 | 2017-06-21 | D2O | 2 | after dissolving | 37 | 512 sk, 4 cm, air | 1638/1626 | aggregated
22 | PPT_23 | 2018-06-21 | D2O | 2 | 1d | 37 | 512 sk, 4 cm, air | 1633 | aggregated | incubated at 37°C
22 | PPT_23 | 2025-06-21 | D2O | 2 | 8d | 37 | 512 sk, 4 cm, air | 1630/1624 | aggregated | incubated at 37°C
22 | PPT_23 | 2021-07-21 | D2O | 2 | after dissolving | 20-40, every 2 | 512 sk, 4 cm, air | 1638/1625 | aggregated
22 | PPT_23 | 2028-07-21 | D2O | 2 | 40d | 37 | 512 sk, 4 cm, air | 1661/1633/1623/1614 | aggregated | incubated at 37°C
22 | PPT_23 | 2029-07-21 | D2O | 2 | 8d | 20 | 512 sk, 4 cm, air | 1636/1625 | aggregated | stored at 4°C
23 | PPT_8 | 2013-09-21 | D2O | 2 | after dissolving | 23/37 | 512 sk, 4 cm, air
25 | PPT_8_Met | 2013-09-21 | D2O | 2 | after dissolving | 23/37 | 512 sk, 4 cm, air | 1624 | aggregated
26 | PPT_10 | 2017-09-21 | D2O | 2 | after dissolving | 23/37 | 512 sk, 4 cm, air | 1632/1629 | aggregated
27 | PPT_11 | 2017-09-21 | D2O | 2 | after dissolving | 23/37 | 512 sk, 4 cm, air
28 | PPT_12 | 2020-09-21 | D2O | 2 | after dissolving | 23/37 | 512 sk, 4 cm, air
29 | PPT_13 | 2020-09-21 | D2O | 2 | after dissolving | 23/37 | 512 sk, 4 cm, air
30 | PPT_14 | 2021-09-21 | D2O | 2 | after dissolving | 23/37 | 512 sk, 4 cm, air
31 | PPT_15 | 2021-09-21 | D2O | 2 | after dissolving | 23/37 | 512 sk, 4 cm, air
32 | PPT_16 | 2021-09-21 | D2O | 2 | after dissolving | 23/37 | 512 sk, 4 cm, air
33 | PPT_19 | 2021-09-21 | D2O | 2 | after dissolving | 23/37 | 512 sk, 4 cm, air